[image: image1.jpg]LLLLLLLLL

I I
Eim GROVE




May 12th, 2022
RE: Notice of Sanitary Sewer Overflows 9/12/22
In compliance with the WDNR and the Village of Elm Grove Permit WI-SO654040-2, this serves as notification of a Sanitary Sewage Overflow Notification (SSO) which occurred as a result of the intense rainfalls the Village experienced between 9/11/22 through 9/12/22.

Total concentrated rainfalls were recorded at the nearby MMSD rain gauge (located at 12308 W. Underwood Parkway) at 4.80 inches between 9/11-9/12/22. Local concentrations of rainfall may have been higher at the specific locations of the overflow sites.

The following location was bypassed:

Squires Grove Sanitary Sewer Bypass pumping station.
Wrayburn Rd Sanitary Sewer Bypass pumping station.
Post bypass inspections indicated there was no health hazards existing.

Richard Paul, Jr.

Richard Paul, Jr.
Public Works Director

Village of Elm Grove
DEPARTMENT OF PUBLIC WORKS





Richard Paul Jr. 


Director of Public Works





13600 Juneau Boulevard


Elm Grove, Wisconsin 53122-1679





(262) 782-6700    Fax (262) 782-8714





E-Mail       rpauljr@elmgrovewi.org











